## Jan -14
Trade Effluent ETP - January -2014
2014-01-01 | pH | TSS | TDS | Phosphate | Ammoniacal Nitrogen | Nitrate Nitrogen | COD | Oil & Grease | Total Kjeldahl Nitrogen | Residual Chlorine | Flow
1 | 7 | 71 | 2095 | 4 | 27 | 8 | 74 | 2.7 |  |  | 2880
2 | 7 | 76 | 1766 | 4 | 21 | 8 | 69 |  |  |  | 3120
3 | 7.1 | 84 | 2032 | 3 | 17 | 8 | 68 |  |  |  | 2832
4 | 7.1 | 88 | 2046 | 3 | 15 | 7 | 61 |  |  |  | 2832
5 | 7.2 | 90 | 1996 | 4 | 19 | 7 | 59 |  |  |  | 2880
6 | 7.1 | 24 | 1943 | 4 | 18 | 8 | 69 |  |  |  | 2832
7 | 7.1 | 72 | 1607 | 4 | 17 | 7 | 74 |  |  |  | 2880
8 | 7.1 | 76 | 1852 | 3 | 19 | 6 | 80 |  |  |  | 2832
9 | 7 | 81 | 1901 | 3 | 18 | 8 | 81 |  |  |  | 2640
10 | 6.9 | 89 | 1936 | 4 | 8 | 8 | 75 |  |  |  | 2880
11 | 7 | 84 | 1953 | 4 | 17 | 7 | 71 |  |  |  | 2640
12 | 6.9 | 81 | 1884 | 3 | 42 | 7 | 125 |  |  |  | 2640
13 | 6.9 | 63 | 1530 | 5 | 35 | 6 | 132 |  |  |  | 2832
14 | 7.3 | 65 | 1354 | 4 | 34 | 4 | 169 |  |  |  | 2640
15 | 8.4 | 68 | 1360 | 5 | 25 | 8 | 235 |  |  |  | 2640
16 | 8 | 62 | 1402 | 5 | 22 | 6 | 150 |  |  |  | 2832
17 | 7.6 | 69 | 1575 | 4 | 25 | 4 | 195 | 4.2 | 56 | 1 | 2880
18 | 7.5 | 65 | 1436 | 4 | 25 | 4 | 157 | 4.5 | 52 | 0.1 | 2880
19 | 7.4 | 68 | 1582 | 4 | 25 | 9 | 131 |  |  |  | 2640
20 | 7.5 | 65 | 1566 | 3 | 46 | 7 | 114 | 6 | 55 | 0.6 | 2640
21 | 7.8 | 66 | 1506 | 5 | 21 | 10 | 116 | 8 | 30 | 0.2 | 2640
22 | 7.1 | 72 | 1639 | 4 | 35 | 8 | 188 | 7 | 42 | 0.5 | 3120
23 | 7.3 | 59 | 1401 | 3 | 16 | 9 | 76 | 7 | 38 | 0.1 | 2880
24 | 7.1 | 67 | 1488 | 3 | 18 | 8 | 125 | 6 | 35 | 0.1 | 2832
25 | 7.8 | 61 | 1501 | 4 | 30 | 6 | 131 | 5 | 51 | 0.1 | 2832
26 | 7.5 | 69 | 1611 | 3 | 20 | 5 | 149 | 6 | 46 | 0.1 | 2640
27 | 7.2 | 73 | 1775 | 3 | 42 | 8 | 121 | 7 | 56 | 0.6 | 2880
28 | 7.3 | 76 | 1693 | 3 | 40 | 7 | 158 | 3 | 52 | 0.8 | 2640
29 | 7.2 | 66 | 1537 | 4 | 36 | 4 | 199 | 7 | 42 | 0.6 | 2832
30 | 7.9 | 69 | 1603 | 4 | 26 | 5 | 120 | 4 | 35 | 0.6 | 3120
31 | 7.3 | 55 | 1418 | 4 | 22 | 8 | 152 | 6 | 35 | 0.1 | 2880
Average | 7.331 | 69.8966 | 1659.5517 | 3.7586 | 25.2759 | 6.8621 | 123.4828 | 5.56 | 44.6429 | 0.39286 | 2811.871
MPCB Consent Limits | 6.0 to 8.5 | 100 | 2100 | 5 | 50 | 10 | 250 | 10 | 100 | 1 | 3878.28
Parameters | pH | TSS (mg/litre) | TDS (mg/litre) | Phosphate (mg/litre) | Ammoniacal Nitrogen (mg/litre) | Nitrate Nitrogen | COD (mg/litre) | Oil & Grease (mg/litre) | Total Kjeldahl Nitrogen | Total Residual Chlorine as CL2 (mg/litre) | Flow (K-1 to K-8) M3/Day

## Feb -14
Trade Effluent ETP - February -2014
2014-02-01 | pH | TSS | TDS | Phosphate | Ammoniacal Nitrogen | Nitrate Nitrogen | COD | Oil & Grease | Total Kjeldahl Nitrogen | Residual Chlorine | Flow
1 | 7.8 | 76 | 1689 | 4 | 30 | 9 | 200 | 8 | 42 | 0.1 | 2640
2 | 7.2 | 71 | 1601 | 4 | 25 | 9 | 185 | 6 | 49 | 0.1 | 3120
3 | 7.5 | 68 | 1589 | 4 | 32 | 6 | 125 | 3 | 48 | 0.1 | 2880
4 | 7.6 | 51 | 1458 | 3 | 21 | 6 | 142 | 5 | 28 | 0.2 | 2832
5 | 6.9 | 70 | 1648 | 3 | 25 | 7 | 112 | 2 | 38 | 0.4 | 2880
6 | 7.4 | 61 | 1578 | 4 | 18 | 5 | 104 | 3 | 32 | 0.5 | 3120
7 | 7.4 | 56 | 1496 | 3 | 27 | 2 | 119 | 4 | 38 | 0.4 | 2640
8 | 7 | 64 | 1524 | 4 | 21 | 6 | 129 | 5 | 45 | 0.1 | 2832
9 | 7.1 | 58 | 1448 | 4 | 18 | 7 | 91 | 6 | 38 | 0.1 | 2832
10 | 7 | 62 | 1611 | 3 | 25 | 5 | 121 | 6 | 40 | 0.2 | 2640
11 | 7.5 | 58 | 1512 | 4 | 16 | 7 | 102 | 4 | 31 | 0.1 | 2832
12 | 7.6 | 76 | 1634 | 3 | 39 | 6 | 148 | 5 | 48 | 0.6 | 2640
13 | 7.7 | 62 | 1652 | 4 | 40 | 6 | 119 | 5 | 53 | 0.4 | 3120
14 | 7.3 | 66 | 1496 | 5 | 31 | 5 | 141 | 2 | 40 | 0.2 | 2832
15 | 8 | 60 | 1532 | 4 | 30 | 8 | 185 | 6 | 39 | 0.2 | 2640
16 | 7.6 | 86 | 1706 | 4 | 27 | 5 | 132 | 6 | 37 | 0.1 | 3120
17 | 7.4 | 54 | 1572 | 1 | 15 | 4 | 74 | 5 | 32 | 0.2 | 2832
18 | 7.7 | 79 | 1601 | 4 | 21 | 7 | 89 | 2 | 44 | 0.1 | 2640
19 | 7.6 | 57 | 1459 | 4 | 18 | 8 | 127 | 3 | 49 | 0.1 | 2640
20 | 7.3 | 78 | 1613 | 2 | 14 | 6 | 105 | 2 | 41 | 0.6 | 3120
21 | 7.8 | 61 | 1546 | 4 | 21 | 4 | 153 | 5 | 43 | 0.6 | 2880
22 | 8 | 70 | 1480 | 4 | 43 | 9 | 150 | 6 | 55 | 0.2 | 2832
23 | 7.8 | 62 | 1136 | 5 | 27 | 6 | 128 | 5 | 35 | 0.2 | 2640
24 | 7.2 | 68 | 1542 | 3 | 33 | 5 | 82 | 1 | 42 | 0.1 | 2832
25 | 7.7 | 58 | 1302 | 4 | 0.23 | 6 | 80 | 2 | 35 | 0.1 | 2880
26 | 7.3 | 61 | 1451 | 4 | 19 | 8 | 95 | 3 | 48 | 0.1 | 3160
27 | 7.4 | 69 | 1589 | 3 | 22 | 5 | 105 | 4 | 38 | 0.1 | 2880
28 | 7.5 | 65 | 1633 | 4 | 29 | 7 | 164 | 6 | 47 | 0.6 | 2832
Average | 7.475 | 65.25 | 1539.2143 | 3.6429 | 24.5439 | 6.2143 | 125.25 | 4.2857 | 41.25 | 0.24286 | 2848.8571
MPCB Consent Limits | 6.0 to 8.5 | 100 | 2100 | 5 | 50 | 10 | 250 | 10 | 100 | 1 | 3878.28
Parameters | pH | TSS (mg/litre) | TDS (mg/litre) | Phosphate (mg/litre) | Ammoniacal Nitrogen (mg/litre) | Nitrate Nitrogen | COD (mg/litre) | Oil & Grease (mg/litre) | Total Kjeldahl Nitrogen | Total Residual Chlorine as CL2 (mg/litre) | Flow (K-1 to K-8) M3/Day

## Summary-2014
Trade Effluent ETP - Summary-2014 ( Average Values)
Flow
Month-Year | pH | TSS | TDS | Phosphate | Ammoniacal Nitrogen | Nitrate Nitrogen | COD | Oil & Grease | Total Kjeldahl Nitrogen | Residual Chlorine | K-1 (M3/Day) | K-8 (M3/Month) | K-8 (M3/Day) | Total (K-1 to K-8) (M3/Day)
2014-01-01 | 7.331 | 69.8966 | 1659.5517 | 3.7586 | 25.2759 | 6.8621 | 123.4828 | 5.56 | 44.6429 | 0.39286 | 2811.871 | 8995.17 | 290.1668 | 3102.0377
2014-02-01 | 7.475 | 65.25 | 1539.2143 | 3.6429 | 24.5439 | 6.2143 | 125.25 | 4.2857 | 41.25 | 0.24286 | 2849 | 9075 | 324.1071 | 3173.1071
2014-03-01
2014-04-01
2014-05-01
2014-06-01
2014-07-01
2014-08-01
2014-09-01
2014-10-01
2014-11-01
2014-12-01
Average | 7.403 | 67.5733 | 1599.383 | 3.7007 | 24.9099 | 6.5382 | 124.3664 | 4.9229 | 42.9464 | 0.31786 | 2830.4355 | 9035.085 | 307.137 | 3137.5724
MPCB Consent Limits | 6.0 to 8.5 | 100 | 2100 | 5 | 50 | 100 | 250 | 10 | 100 | 1 | 3878.28
Parameters | pH | TSS (mg/litre) | TDS (mg/litre) | Phosphate (mg/litre) | Ammoniacal Nitrogen (mg/litre) | Total Nitrogen (mg/litre) | COD (mg/litre) | Oil & Grease (mg/litre) | Total Kjeldahl Nitrogen | Total Residual Chlorine as CL2 (mg/litre) | Flow (K-1 to K-8) M3/Day

## Summary-2013
Trade Effluent ETP - Summary-2013 ( Average Values)
Flow
Month-Year | pH | Phosphate | Ammoniacal Nitrogen | Nitrate Nitrogen | COD | K-1 (M3/Day) | K-8 (M3/Month) | K-8 (M3/Day) | Total (K-1 to K-8) (M3/Day)
2013-01-01 | 7.6161 | 2.6129 | 28.2903 | 5.9677 | 74.2258 | 2378.3226 | 9996.5 | 322.4677 | 2700.7903
2013-02-01 | 7.5607 | 2.8214 | 25.1429 | 6.25 | 76.7857 | 2494.5714 | 10054.93 | 359.1046 | 2853.6761
2013-03-01 | 7.7032 | 3.3871 | 27.0968 | 6.6452 | 82.3548 | 2625.0323 | 10143.92 | 327.2232 | 2952.2555
2013-04-01 | 7.7367 | 3.9 | 29.1333 | 7.6333 | 81.3333 | 2610.1333 | 11649.9 | 388.33 | 2998.4633
2013-05-01 | 7.671 | 3.6452 | 25.4839 | 7.4839 | 90.7419 | 2702.9677 | 14490.28 | 467.4284 | 3170.3961
2013-06-01 | 7.65 | 3.3667 | 25.5667 | 7.6 | 90.4333 | 2735.4667 | 13121.72 | 437.3907 | 3172.8573
2013-07-01 | 7.5 | 3 | 35 | 7 | 115 | 2936 | 11131.27 | 359.0732 | 3295.0732
2013-08-01 | 7.6419 | 3.7097 | 37.4194 | 6.9355 | 107.6452 | 2926.4516 | 10226.1 | 329.8742 | 3256.3258
2013-09-01 | 7.5 | 2 | 37 | 6 | 66 | 2925 | 14234.14 | 474.4713 | 3399.4713
2013-10-01 | 7.5871 | 3.7419 | 39.0323 | 6.2903 | 99.129 | 2940 | 11958 | 385.7419 | 3325.7419
2013-11-01 | 7.6 | 4 | 39 | 7 | 181 | 2899 | 8031 | 267.7 | 3166.7
2013-12-01 | 7.3 | 4 | 40 | 7 | 235 | 2832 | 10138.71 | 327.0552 | 3159.0552
Average | 7.5889 | 3.3487 | 32.3471 | 6.8172 | 108.3041 | 2750.4121 | 11264.7058 | 370.4884 | 3120.9005
MPCB Consent Limits | 5.5 to 9.0 | 5 | 50 | 100 | 250 | 3878.28
Parameters | pH | Phosphate (mg/litre) | Ammoniacal Nitrogen (mg/litre) | Total Nitrogen (mg/litre) | COD (mg/litre) | Flow (K-1 to K-8) M3/Day

## Summary-2012-13
Trade Effluent ETP - Summary-2012 - 2013 ( Average Values)
Flow
Month-Year | pH | Phosphate | Ammoniacal Nitrogen | Nitrate Nitrogen | COD | K-1 (M3/Day) | K-8 (M3/Month) | K-8 (M3/Day) | Total (K-1 to K-8) (M3/Day)
2012-04-01 | 7.6161 | 2.6129 | 28.2903 | 5.9677 | 74.2258 | 2378.3226 | 9996.5 | 322.4677 | 2700.7903
2012-05-01 | 7.5607 | 2.8214 | 25.1429 | 6.25 | 76.7857 | 2494.5714 | 10054.93 | 359.1046 | 2853.6761
2012-06-01 | 7.7032 | 3.3871 | 27.0968 | 6.6452 | 82.3548 | 2625.0323 | 10143.92 | 327.2232 | 2952.2555
2012-07-01 | 7.7367 | 3.9 | 29.1333 | 7.6333 | 81.3333 | 2610.1333 | 11649.9 | 388.33 | 2998.4633
2012-08-01 | 7.671 | 3.6452 | 25.4839 | 7.4839 | 90.7419 | 2702.9677 | 14490.28 | 467.4284 | 3170.3961
2012-09-01 | 7.65 | 3.3667 | 25.5667 | 7.6 | 90.4333 | 2735.4667 | 13121.72 | 437.3907 | 3172.8573
2012-10-01 | 7.5 | 3 | 35 | 7 | 115 | 2936 | 11131.27 | 359.0732 | 3295.0732
2012-11-01 | 7.6 | 4 | 40 | 8 | 70 | 2880 | 10150 | 327.4194 | 3207.4194
2012-12-01 | 7.8 | 4 | 35 | 8 | 85 | 2832 | 11600 | 386.6667 | 3218.6667
2013-01-01 | 7.7 | 3 | 35 | 7 | 80 | 2600 | 13010 | 419.6774 | 3019.6774 | Updated
2013-02-01 | 7.6 | 4 | 30 | 6 | 50 | 2750 | 10040 | 334.6667 | 3084.6667
2013-03-01 | 7.7 | 3 | 29 | 8 | 75 | 2400 | 10120 | 326.4516 | 2726.4516
Average | 7.6531 | 3.3944 | 30.3928 | 7.1317 | 80.9062 | 2662.0412 | 11292.3767 | 371.325 | 3033.3661
MPCB Consent Limits | 5.5 to 9.0 | 5 | 50 | 100 | 250 | 3878.28
Parameters | pH | Phosphate (mg/litre) | Ammoniacal Nitrogen (mg/litre) | Total Nitrogen (mg/litre) | COD (mg/litre) | Flow (K-1 to K-8) M3/Day